## Specifikacija
Šifra uređaja | Opis | Serijski broj | Kol. | Nivo održavanja | Početak održavanja | Završetak održavanja
BW903A | HPE 42U 600x1075mm Ent Pallet Rack |  | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
252663-B24 | HPE Basic 3.6kVA/60320/C19/WW PDU |  | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
AF461A | HPE R5000 3U IEC309-32A HV INTL UPS | 3C83060615 | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
AF461A | HPE R5000 3U IEC309-32A HV INTL UPS | 3C83060660 | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
AF525A | HPE Intelligent 7.3kVA/60309/INTL PDU |  | 2 | HU4B2AC | 01.07.2023 | 30.06.2024
AF574A | HPE Rdnt 2m 16A C19-C20 Jpr Cord |  | 4 | HU4B2AC | 01.07.2023 | 30.06.2024
AF547A | HPE 5xC13 Intlgnt PDU Ext Bars G2 Kit |  | 4 | HU4B2AC | 01.07.2023 | 30.06.2024
BW891A | HPE Rack Grounding Kit |  | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
BW906A | HPE 42U 1075mm Side Panel Kit |  | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
BW928A | HPE 1U Blck Universal 10-pk Filler Panel |  | 2 | HU4B2AC | 01.07.2023 | 30.06.2024
BW932A | HPE 600mm Rack Stabilizer Kit |  | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
BW946A | HPE 42U Location Discovery Kit |  | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
641016-B21 | HP BL460c Gen8 10/20Gb FLB CTO Blade | CZJ3180147 | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
641016-B21 | HP BL460c Gen8 10/20Gb FLB CTO Blade | CZJ3180148 | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
651281-B21 | HPE QMH2572 8Gb FC HBA | MY53050NHN | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
662069-L21 | HP BL460c Gen8 E5-2620 FIO Kit |  | 3 | HU4B2AC | 01.07.2023 | 30.06.2024
662069-B21 | HP BL460c Gen8 E5-2620 Kit |  | 3 | HU4B2AC | 01.07.2023 | 30.06.2024
672631-B21 | HP 16GB 2Rx4 PC3-12800R-11 Kit |  | 24 | HU4B2AC | 01.07.2023 | 30.06.2024
652564-B21 | HPE 300GB SAS 10K SFF SC HDD |  | 6 | HU4B2AC | 01.07.2023 | 30.06.2024
684212-B21 | HP FlexFabric 10Gb 2P 554FLB FIO Adptr |  | 3 | HU4B2AC | 01.07.2023 | 30.06.2024
651281-B21 | HPE QMH2572 8Gb FC HBA |  | 3 | HU4B2AC | 01.07.2023 | 30.06.2024
641016-B21 | HP BL460c Gen8 10/20Gb FLB CTO Blade | CZ3230RXEH | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
507019-B21 | HP BLc7000 CTO 3 IN LCD ROHS Encl | CZ3230RXE5 | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
AJ820B | HP B-series 8/12c BladeSystem SAN Switch | CN8311A040 | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
AJ820B | HP B-series 8/12c BladeSystem SAN Switch | CN8311A048 | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
453154-B21 | HPE BLC VC 1G SFP RJ45 Transceiver |  | 4 | HU4B2AC | 01.07.2023 | 30.06.2024
456204-B21 | HPE BLc7000 DDR2 Encl Mgmt Option |  | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
AJ718A | HPE 8Gb Short Wave FC SFP+ 1 Pack | 3CB310A58H | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
AJ718A | HPE 8Gb Short Wave FC SFP+ 1 Pack | 3CB310A620 | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
AJ718A | HPE 8Gb Short Wave FC SFP+ 1 Pack | 3CB310A6LM | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
AJ718A | HPE 8Gb Short Wave FC SFP+ 1 Pack | 3CB310A6PZ | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
638526-B21 | HPE BLc VC Flex-10/10D Module Opt | 3C424700BS | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
638526-B21 | HPE BLc VC Flex-10/10D Module Opt | 3C424700BY | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9538A | HPE 8-port 10GbE SFP+ v2 zl Module | SG3137W0N2 | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9538A | HPE 8-port 10GbE SFP+ v2 zl Module | SG3137W0PD | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
868703-B21 | HPE DL380 Gen10 8SFF CTO Server | CZ291002SW | 1 | HU4A6AC | 01.07.2023 | 30.06.2024
815100-B21 | HPE 32GB 2Rx4 PC4-2666V-R Smart Kit | RVYEAC4TBC04EW | 1 | HU4A6AC | 01.07.2023 | 30.06.2024
815100-B21 | HPE 32GB 2Rx4 PC4-2666V-R Smart Kit | RVYEAC4TBC04EX | 1 | HU4A6AC | 01.07.2023 | 30.06.2024
826846-B21 | HPE DL380 Gen10 4110 Xeon-S Kit | TWJJCC4VMC018Y | 1 | HU4A6AC | 01.07.2023 | 30.06.2024
826846-L21 | HPE DL380 Gen10 4110 Xeon-S FIO Kit |  | 1 | HU4A6AC | 01.07.2023 | 30.06.2024
815100-B21 | HPE 32GB 2Rx4 PC4-2666V-R Smart Kit | RVYEAC4TBC04ES | 1 | HU4A6AC | 01.07.2023 | 30.06.2024
815100-B21 | HPE 32GB 2Rx4 PC4-2666V-R Smart Kit | RVYEAC4TBC04ET | 1 | HU4A6AC | 01.07.2023 | 30.06.2024
815100-B21 | HPE 32GB 2Rx4 PC4-2666V-R Smart Kit | RVYEAC4TBC04EU | 1 | HU4A6AC | 01.07.2023 | 30.06.2024
815100-B21 | HPE 32GB 2Rx4 PC4-2666V-R Smart Kit | RVYEAC4TBC04EV | 1 | HU4A6AC | 01.07.2023 | 30.06.2024
815100-B21 | HPE 32GB 2Rx4 PC4-2666V-R Smart Kit | RVYEAC4TBC04HK | 1 | HU4A6AC | 01.07.2023 | 30.06.2024
815100-B21 | HPE 32GB 2Rx4 PC4-2666V-R Smart Kit | RVYEAC4TBC04HL | 1 | HU4A6AC | 01.07.2023 | 30.06.2024
872477-B21 | HPE 600GB SAS 10K SFF SC MV HDD | 2WJNP0183BP7RF | 1 | HU4A6AC | 01.07.2023 | 30.06.2024
872477-B21 | HPE 600GB SAS 10K SFF SC MV HDD | 2WJNP0183BP7YE | 1 | HU4A6AC | 01.07.2023 | 30.06.2024
872481-B21 | HPE 1.8TB SAS 10K SFF SC 512e MV HDD | 2WJNR0183BU2PV | 1 | HU4A6AC | 01.07.2023 | 30.06.2024
872481-B21 | HPE 1.8TB SAS 10K SFF SC 512e MV HDD | 2WJNR0183BU2Q0 | 1 | HU4A6AC | 01.07.2023 | 30.06.2024
872481-B21 | HPE 1.8TB SAS 10K SFF SC 512e MV HDD | 2WJNR0183BU2BU | 1 | HU4A6AC | 01.07.2023 | 30.06.2024
872481-B21 | HPE 1.8TB SAS 10K SFF SC 512e MV HDD | 2WJNR0183BU2BY | 1 | HU4A6AC | 01.07.2023 | 30.06.2024
872481-B21 | HPE 1.8TB SAS 10K SFF SC 512e MV HDD | 2WJNR0183BU2LE | 1 | HU4A6AC | 01.07.2023 | 30.06.2024
872481-B21 | HPE 1.8TB SAS 10K SFF SC 512e MV HDD | 2WJNR0183BU2MC | 1 | HU4A6AC | 01.07.2023 | 30.06.2024
P01366-B21 | HPE 96W Smart Stg Li-ion Batt 145mm Kit |  | 1 | HU4A6AC | 01.07.2023 | 30.06.2024
700759-B21 | HPE FlexFbr 10Gb 2p FLR-T 57810S Adptr | PDBLB0BV4BOFG4 | 1 | HU4A6AC | 01.07.2023 | 30.06.2024
804331-B21 | HPE Smart Array P408i-a SR Gen10 Ctrlr | PEYHC0DRHBS4ZU | 1 | HU4A6AC | 01.07.2023 | 30.06.2024
865408-B21 | HPE 500W FS Plat Ht Plg LH Pwr Sply Kit |  | 2 | HU4A6AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP40F0 | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP40HC | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP40HT | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP40JZ | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP40K4 | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP414H | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP418N | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP419G | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP41B8 | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP41BD | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP40F0 | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP40HC | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP40HT | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP40JZ | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP40K4 | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP414H | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP418N | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP419G | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP41B8 | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP41BD | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP40F0 | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP40HC | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP40HT | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP40JZ | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP40K4 | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP414H | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP418N | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP419G | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP41B8 | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
J9773A | Aruba 2530 24G PoE+ Switch | CN32FP41BD | 1 | HU4B2AC | 01.07.2023 | 30.06.2024
UKUPAN IZNOS (EUR)
PDV 25% (EUR)
SVEUKUPNO (EUR)
Specifikacija održavanja:
HU4B2AC | HPE Tech Care Basic SVC | HU4A6AC | HPE Tech Care Essential SVC
| HPE Remote Tech Support |  | HPE Remote Tech Support
| Technical Support |  | Technical Support
| General Technical Guidance |  | General Technical Guidance
| Basic Service Level |  | Essential Service Level
| HPE Hardware Tech Support |  | HPE Hardware Tech Support
| Onsite Support |  | Onsite Support
| Replacement Parts |  | Replacement Parts
| Basic Service Level |  | Essential Service Level